## Quote summary
Investment budget - Jeddah Datacenter
investment group | item | Year 1 |  |  | Year 2 |  |  | Year 3 |  |  | Year 4
|  | Qty | unit cost (USD) | total cost (USD) | Qty | unit cost (USD) | total cost (USD) | Qty | unit cost (USD) | total cost (USD) | Qty | unit cost (USD) | total cost (USD)
basic investments | land | 10000 | 100 | 1000000 |  |  | 0 |  |  | 0 |  |  | 0
| building (excl offices) | 5000 | 1863 | 9315000
| building (reception, offices, NOC, meeting rooms,...) | 1000 | 2639.25 | 2639250 |  |  | 0 |  |  | 0 |  |  | 0
| Engineering | 1 | 75000 | 75000 |  |  | 0 |  |  | 0 |  |  | 0
| Electrical Main Bldg | 1 | 270000 | 270000 |  |  | 0 |  |  | 0 |  |  | 0
| Mechanical Phase 1 | 1 | 105000 | 105000
| Telco Room | 1 | 50000 | 50000 |  |  | 0 |  |  | 0 |  |  | 0
| Office | 1 | 61000 | 61000 |  |  | 0 |  |  | 0 |  |  | 0
| Security | 1 | 210000 | 210000 |  |  | 0 |  |  | 0 |  |  | 0
| Building Automation / Access Control | 1 | 153600 | 153600 |  |  | 0 |  |  | 0 |  |  | 0
| Fire | 1 | 150000 | 150000 |  |  | 0 |  |  | 0 |  |  | 0
| NOC | 1 | 275000 | 275000 |  |  | 0 |  |  | 0 |  |  | 0
| Board Room | 1 | 35000 | 35000 |  |  | 0 |  |  | 0 |  |  | 0
| Network | 1 | 125000 | 125000
| subtotal |  |  | 14463850 |  |  | 0 |  |  | 0 |  |  | 0
modular investments | 60 rack clusters | 2 | 1012500 | 2025000 | 5 | 1012500 | 5062500 | 11 | 1012500 | 11137500 | 14 | 1012500 | 14175000
colo racks (equipment)
| storage racks (equipment) | 0.5 | 129100 | 64550 | 45.0413 | 129100 | 5814836.1333 | 124.137 | 129100 | 16026086.7 | 199.9933 | 129100 | 25819139.3333
| CPU racks (equipment) | 0.41667 | 52140 | 21725 | 37.215 | 52140 | 1940390.1 | 74.7327 | 52140 | 3896561.24 | 93.0098 | 52140 | 4849530.972
| customer delivered CPU racks (equipment) | 0.41667 | 20000 | 8333.3333 | 37.465 | 20000 | 749300 | 97.0367 | 20000 | 1940733.3333 | 135.619 | 20000 | 2712380
|  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
| subtotal |  |  | 2119608.3333 |  |  | 13567026.2333 |  |  | 33000881.2733 |  |  | 47556050.3053
| TOTAL (USD) |  |  | 16583458.3333 |  |  | 13567026.2333 |  |  | 33000881.2733 |  |  | 47556050.3053
usd/eur | 1.35

## basic investment details
Construction
Man Traps 2 @ $30k per | 60000
Reception Area Furniture and Décor | 50000
Guard Station | 50000
Walls and Doors | 300000
Electrical Yard | 50000
Bathrooms | 10000
Construction Total | 520000
Engineering
MEP Engineering | 75000
Electrical Main Bldg
Main Switchboard 1600A | 80000
Outdoor Conduit | 20000
House Transformer 480/208 75kVa | 15000
Lightning protection | 10000
Main Service Transformer Pad Installation | 6000
Main Service Transformer placement | 3000
Grounding | 10000
TVSS | 6000
100 Convenience Outlets | 30000
Outdoor Lighting | 25000
Service Cutover | 15000
Old Service Removal | 5000
Temporary Power and Lighting | 10000
200 8 foot strip lights | 30000
Exit Lights | 5000
Electrical Total | 270000
Mechanical Phase 1
Telco A/C | 50000
Office A/C | 50000
Outside Air with Filtering | 5000
Mechanical Total | 105000
Telco Room
Ladder Rack | 20000
Fiber Panduit | 20000
Patch Panels and Telco Racks | 10000
Telco Room Total | 50000
Office
Office Furniture | 25000
Office PBX | 10000
Office Upfit / Carpet Paint | 20000
5 Cubicles | 6000
Office Total | 61000
Security
Alarm Install | 150000
Cameras - PTZ | 40000 | 10
Cameras - Fixed | 10000 | 20
Video NVR Software | 5000 | Exacqvision Software
Video Analysis | 5000 | VIA:SYS
Security Total | 210000
Building Automation / Access Control
CBAS Base system | 35000
Electrical Meters 800 Amp x 8 | 8000
Wiring | 20000
Installation | 30000
Temperature Sensors | 2000
Humidity Sensors | 3000
Access Controllers x 18 | 9000
Magnetic Locks x 18 | 9000
Request to Exit Button x 18 | 3600
CO2 Sensor for outside air | 2000
Leak Sensors X 50 | 15000
Leak Sensing Cable | 10000
Refrigerant Sensors X 5 | 7000
Building Automation Total | 153600
Fire
Fire protection central management | 150000 | Engineering
Fire Total | 150000
NOC
Snap Glass Walls | 30000
NOC Command Center | 150000
NOC desks | 30000
Noc computers / Networks | 30000
NOC Displays | 35000
NOC Total | 275000
Board Room
Conference Tables | 15000
Conference Room AV | 20000
Board Room Total | 35000
Network
10 gig core network | 50000
Distribution switches | 25000
Fiber Entries | 50000
Network Total | 125000

## pod investment details
Pods |  | Supplier | Qty | Price
42U Racks Collo with perforated combination lock doors. | 60000 |  | 60 | 1000
Racktivity 24 port 14kw PDU | 45000 |  | 60 | 750
Liebert 150KVA top fed PDU | 120000 |  | 4 | 17000
Whips and wire basket for power distribution | 15000 | (Should have an electrician on staff to save)
35 ton Rooftop AC | 120000 |  | 4 | 30000
Wall and hot aisle | 10000
Power Feeds Install plus materials per PDU | 20000 |  | 4 | 5000
Cable basket | 10000
Doors/Roof | 4000
Insulation | 1000
Electrical Installation | 50000
Data Cabling | 7500 |  | 60 | 125
Fiber run to Telco Room | 5000
Generator 750 kw | 125000
1600 Amp Panel | 10000
Closed Transition ATS 1200A | 30000
Eaton 9395 550 KVA UPS with 6 minutes | 145000
Mechanical Bypass | 20000 | For Spare Genset
Fire Protection Design | 10000 | Engineering
Fire Protection Install | 50000 | Pre-Action dry pipe
Smoke Detection | 75000 | VESDA, smoke and heat detection
Gas Supression | 50000 | FM-200 or nitrogen mix
Spare Genset Cabling | 30000
Pod Costs | 1012500